APPLICATION FORM

for order of fixed gas-analysis industrial safety equipment (systems)

Application form is completed if there are specific requirements to gas analyzers СТМ-10; СТМ-30; ДАТ-М; ДАХ-М; ДАК; ДАМ; БПС-21М, when ordering system СКАПО or gas analyzers in quantity of more 50 pcs.

Please give as much as possible information about definite application of ordered safety equipment (systems).  Please contact us if you have any questions when completing the application form by tel. 8-4812-31-11-68.

I. General requirements to gas analyzers of explosive and toxic substances

| Ambient temperature in place of monitoring, С | Мin Nom Мах |
| --- | --- |
| Gas analyzer remoteness from secondary unit | Мin meter Мах meter |
| Necessity of light and audible alarm in place of gas analyzer mounting |  |
| Necessity of digital indication on gas analyzer |  |
| Category of hazard of premises in place of gas analyzer mounting | hazardous non-hazardous |
| Preferable method of connection lines laying between gas analyzer and secondary unit |  |
| Controlled flammable substances | List main substances ___________________________ ______________________________________________ |
| Specify catalyst poisons contained in monitored atmosphere, which concentrations exceed MPC of catalyst poisons (halogens, sulfur-containing and chlorine-containing substances) in working area | sulfur-containing substances ______________________ chlorine-containing substances _____________________ halogens ______________________________________ |
| MPC of controlled toxic substances and oxygen in working area |  |

II. Requirements to secondary units

2.1 Requirements to design and place of mounting:

| Ambient temperature in place of secondary units mounting, С | Мin Nom Мах |
| --- | --- |
| Power supply and alarm unit mounting |  |
| Necessity of digital indication on secondary unit |  |
| Required output signals | 4-20mА RS485 -------------------------------- |
| Necessity of an operator work site arrangement for visual monitoring of atmosphere condition of controlled object | Required Not required |
| Necessity of PC configuration |  |
| Necessity of data transmission to automatic process control system |  |
| Data transmission protocol to automatic process control system |  |
| Category of hazard of premises for secondary units mounting | hazardous non-hazardous |

2.2  Necessity of  commissioning works:

2.3 Necessity of design works:                                                                 Yes                                 No

III. Additional information

Special requirements to equipment:_________________________________________________

________________________________________________________________________________________

________________________________________________________________________________________

Please, perform a brief description or a plan of industrial object to be protected.

1.1 Company: ________________________________________________ Fax: __________________

1.2 E-mail: _____________________________ Tel.___________________________________________

1.3 Full name: _____________________________________________________________ _____________

(person completed the application form)

1.4 Position: _______________________________________________________________________

Date __________________________   Signature ________________________

Send the completed application form by fax (4812) 31-75-16 or е-mail:

info@analitpribor-smolensk.ru

# Text boxes

In cabinet

On wall

On board

Yes

No

Yes

No

Да

No

СН ___________ % LEL  ____________ pcs.

СО  ____________ pcs.

SО2 ___________ pcs.

NН3 __ _________ pcs.

Сl2  ____________ pcs.

О2 _____________ pcs.

NO2____________ pcs.

HCl____________ pcs.

CO2____________ pcs.

___________ pcs.

Yes

Н2S ____________ pcs.

___________ pcs.

No

cable laying with mechanical damage protection (explosion protection d)

cable laying without  mechanical damage protection (explosion protection ib)

No

Yes

Yes

Required

Not required

Other___________

(specify the type)

Fildbus  _______Version

Modbis_______Version

Hart  _______Version