Попрп

Те

## Application form for selection of stream gas chromatograph

## ХРОМАТ-900

| Quantity of measuring points |  | Streams switching capability (yes/no) |  |
| --- | --- | --- | --- |

Content of analyzed stream

(completed for each sampling point)

| Components | Stream No. | Stream No. |
| --- | --- | --- |
|  | Concentrations | Concentrations |
| No. | Name | Dimension | Norm. | Min | Max | Range | Dimension | Norm. | Min | Max | Range |
| 1 |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |
|  | Water |  |  |  |  |  |  |  |  |  |  |
|  | Solid |  |  |  |  |  |  |  |  |  |  |

Attention! All concentrations of measured atmosphere components (measured or non-measured) should be specified. Specify a required measuring range for measured components and encircle the number of this component in the table.

Periodicity of measurements (min)      ____________________

Expected measuring time (min)  ____________________________

Quantity of sampling points  __________________________________

Check time of one sampling point (quantity of measurements during one check cycle), for each point      ________________________________

__________________________________________________________________

Sampling conditions (completed for each sampling point)

|  | Stream No. | Stream No. |
| --- | --- | --- |
| Stream temperature °С |  |  |
| Pressure in sampling/ return point (absolut. bar) |  |  |  |  |
| Distance from sampling point to sample preparation | m | m |
| Corrosiveness characteristic | NO ( Active Equilibrium ( Alkaline | NO ( Active Equilibrium ( Alkaline |
| Whether special materials are required | ( NO ( YES Material_________________ | ( NO ( YES Material_________________ |
| Whether there are samples and mixtures for calibration | ( YES ( NO | ( YES ( NO |
| Whether a laboratory analysis is performed | ( YES ( NO | ( YES ( NO |
| Sampling point | ( on open area ( in nonheated premises ( in heated premises | ( on open area ( in nonheated premises ( in heated premises |
| Sampling point category |
| Additional information |  |  |

## Sample preparation

| Mounting | ( On panel | ( In protective cabinet | (In cabinet with window |
| --- | --- | --- | --- |
| Heating | ( not required | ( electric | ( by vapor |

## Input and output signals

| Connection | ( with distributed control system; ( with PC |
| --- | --- |
| Printer | ( Not required ( Connection to computer |
| Recorder for chromatograms | ( Required ( Not required |
| Software | (Standard ( Nonstandard (Specify the options on a separate sheet) |
| Control system (in case of integration) | (No (Yes (Specify the type) |
| Connection with system | ( MODBUS (Other |

## Power supply

| Supply voltage |  |
| --- | --- |
| Control equipment air (required 5-7 bar) | With pressure _________ |
| Vapor | ( No ( Yes Pressure____________Temperature_____________ |
| Other gases availability |  |

## Chromatograph mounting

| Mounting | ( on open area ( in nonheated premises ( in heated premises |
| --- | --- |
| Chromatograph location | ( in cabinet ( Other |
| Category of premises |  |
| Distance from chromatograph to PC |  |

### Additional information

Special requirements:_______________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

Please, perform a brief description or a plan of technological process.

Send the completed application form by fax (4812) 31-75-16 or e-mail

info@analitpribor-smolensk.ru

_______________________________________Signature. Date.

# Text boxes

# FSUE SPA «Analitpribor»

214031, Smolensk

Babushkina st., 3

Tel:   (4812) 31-11-68;

29-95-40

Fax: (4812) 31-75-16,

31-75-17, 31-75-18

Email: info@analitpribor-smolensk.ru

www. analitpribor-smolensk.ru

| Customer |  | Date |
| --- | --- | --- |
| Address |  | Tel.: Fax: E-mail: |
| Contact |  |  |
| Project |  |